## cable
Index | ID | FromBus | ToBus | CableLengthUnit | InService | InServiceState | LengthValue | OhmsPerLengthUnit | OhmsPerLengthValue | RPosValue | RZeroValue | XPosValue | XZeroValue | YPosValue | YZeroValue
1 | Cable1 | Bus2 | Bus1 | 2 | true | As-Built | 8000 | 2 | 1000 | 0.560000002 | 0.560000002 | 0.349999994 | 0.349999994 | 0 | 0
2 | Cable2 | Bus3 | Bus2 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.560000002 | 0.560000002 | 0.319999993 | 0.319999993 | 0 | 0

## xline
Index | ID | ExtRef | FixedLoc | OtiGUID | CloneGuid | UseElementColor | Hidden | MetafileName | Orientation | SymbolSize | SymbolType | ServiceState | InheritedState | FromBus | ToBus | ID | IID | InService | InServiceState | Length | LengthUnit | PerLength | PerLengthUnit | RPos | RZero | XPos | XZero | YPos | YZero

## bus
Index | ID | OpVMag | OpVAng | UserDefinedPDGUID | InService | ServiceState | Area | AsymmRMS | BasekV | BusReferenceName | NominalkV | VMag | VMaxLimit | VMinLimit | Zone
1 | Bus1 | 100 | 0 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
2 | Bus2 | 96.5842514 | 0.433591574 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
3 | Bus3 | 96.7388535 | 0.486014307 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
4 | Bus5 | 0 | 0 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
5 | Bus4 | 0 | 0 |  | true | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1

## xform2w
Index | ID | AnsiMaxMVA | AnsiMVA | AnsiPosXR | AnsiPosZ | AnsiZeroXoverR | AnsiZeroZ | Buried | VectorOrWinding | PrimConnectionButton | SecConnectionButton | PrimNeutralConn | SecNeutralConn | CenterTap | PrimPercentTap | SecPercentTap | PrimMaxPercentFixedTap | PrimMinPercentFixedTap | SecMaxPercentFixedTap | SecMinPercentFixedTap | PhaseShiftHL | PhaseShiftPS | PhaseShiftType | FromBus | ToBus | InService | InServiceState | PrimkV | SeckV | ZBaseMVA

## xform3w
Index | ID | InService | InServiceState | PrimaryBus | SecondaryBus | TeritiaryBus | PrimkV | SeckV | TerkV | PrimPercentTap | SecPercentTap | TerPercentTap | PrimkVA | SeckVA | TerkVA | PSPosZ | PSPosXoverR | PTPosZ | PTPosXoverR | STPosZ | STZeroXoverR

## util
Index | ID | OpVAng | OpVMag | OpMW | OpMvar | VoltagePercent0 | VoltagePercent1 | VoltagePercent2 | VoltagePercent3 | VoltagePercent4 | VoltagePercent5 | VoltagePercent6 | VoltagePercent7 | VoltagePercent8 | VoltagePercent9 | BalancedRadio | Bus | EarthingType | GroundingConnection | InService | InServiceState | kAsc1p | kAsc3p | KV | MaxQ | MinQ | Mvar | MW | NegR | NegX | OnePhase | OnePhaseXoverR | Phase | PhaseType | PosR | PosX | ThreePhase | ThreePhaseXoverR | TypeOfUtility | VoltageAngle | VoltageMagnitude | ZeroR | ZeroX | PdeStatus
1 | U1 | 0 | 100 | 475.39324951 | 460.26901245 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | Bus1 | 0 | 0 | true | As-Built | 40.8248291 | 40.8248291 | 10 | 0 | 0 | 0 | 0 | 10 | 10 | 707106.812 | 1 | 0 | 5 | 10 | 10 | 707106.812 | 1 | 0 | 0 | 100 | 10 | 10 | Swing

## syngen
Index | ID | Bus | CalcFromCapability | CompoundExc | CouplerRpm | CouplerWR2 | Damping | Efficency | Eqp | ExcWithstandLimit | ExcWithstandTime | GenerationCategory | GostScExciterType | IecExcitationType | Ikp | IncludePFMvarController | Inertia | InService | InServiceState | KV | LoadRpm | LoadWR2 | MachineType | MachineWR2 | MVA | MW | PG | PlotI2t | PlotShortTime | Poles | PowerFactor | PrimConnectionButton | PrimEarthingType | PrimGroundingType | PrimNeutralConn | RadioButtons | RatedLifeTime | RdcPercent | ReactivePower | RealPower | RPM | S100 | S120 | Sbreak | ScExciterType | ScGenType | TDoublePrimeD0 | TDoublePrimeQ0 | TPrimeD0 | TPrimeQ0 | TypeOfGenerator | VoltageAngle | VoltageMagnitude | X0 | X1 | X2 | Xd | XdDoublePrime | XdPrime | XOverR | XOverR0 | XOverR2 | Xq | XqDoublePrime | XqPrime | XTolerance | PdeStatus

## pvarray
Index | ID | Bus | BVmpp | BVmppTemp | AIscTemp | InverterIncluded | BVoc | BVocTemp | DCGrounded | DCGroundR | DeltaIrradiance | EarthingType | ExternalL | ExternalR | GenerationCategory | Impp | ImpUD | InService | InServiceState | InverterIncluded | Isc | IscUD | Issue | LibModified | MppTracker | NOCTemp | NumPanelParallel | NumPanelSeries | PhaseType | PVAPower | PVAPowerTol | RevCtrl | Revision | SCModel | ValidEquipmentCable | Vmpp | VmpUD | Voc | VocUD | OutServiceYear | ProfileSector | PVAMFR | PVAModel | PVANumCells | PVASize | PVAType | PVAVDC | SingleYearForecastOpt | UniformScalePQ | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime
1 | PVA2 | Bus3 | 0 | 0 | 0.0548 | 1 | 0 | -0.362399995 | 0 | 0 | 0.0500000007 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAAyEEBAHtCk2qUQ4QDAAAAAPBBZ+Z/Qt3OgkMgAwAAAADwQc3McEI3JWdDvAIAAAAA8EE0s2FCctxIQ1gCAAAAAPBBmplSQkvKKkP0AQAAAADwQQCAQ0Lv9wxDkAEAAAAA8EFmZjRClOTeQiwBAAAAAPBBzUwlQtGZpELIAAAAAADwQTMzFkLwo1ZCZAAAAAAA8EGaGQdCTWPOQQ | 7.30000019 | 0 | true | As-Built | 1 | 7.96000004 | 0 | 0 | 0 | 1 | 50.2000008 | 50 | 27 | 0 | 219.876007 | 0 | 0 | 0 | 0 | 0 | 30.1200008 | 0 | 36.0600014 | 0 | 2045/1/1 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.0030000000000000001 | 200 | 0 | 0.000136970004 | 43.7999992 | 0.0030000000000000001 | 10 | 0 | 200
2 | PVA1 | dcBus1 | 0 | 0 | 0.0548 | 0 | 0 | -0.362399995 | 0 | 0 | 0.0500000007 | 5 | 0 | 0 | EP8AAPD/AAAKAAAA6AMAAAAAyEEBAHtCk2qUQ4QDAAAAAPBBZ+Z/Qt3OgkMgAwAAAADwQc3McEI3JWdDvAIAAAAA8EE0s2FCctxIQ1gCAAAAAPBBmplSQkvKKkP0AQAAAADwQQCAQ0Lv9wxDkAEAAAAA8EFmZjRClOTeQiwBAAAAAPBBzUwlQtGZpELIAAAAAADwQTMzFkLwo1ZCZAAAAAAA8EGaGQdCTWPOQQ | 7.30000019 | 0 | false | As-Built | 0 | 7.96000004 | 0 | 0 | 0 | 0 | 50.2000008 | 50 | 27 | 0 | 219.876007 | 0 | 0 | 0 | 0 | 0 | 30.1200008 | 0 | 36.0600014 | 0 | 2045/1/1 |  | A10Green Technology | A10J-M60-220 | 60 | 220 | Polycrystalline | 1 | 0 | 1 | 0.0030000000000000001 | 200 | 0 | 0.000136970004 | 43.7999992 | 0.0030000000000000001 | 10 | 0 | 200

## lumpedload
Index | ID | OpMW | OpMvar | OpMWStLd | OpMvarStLd | GroundingAmp | GroundingOhm | GroundingType | Bus | InService | InServiceState | KV | LRC | ModelType | MotorLoadPercent | MTLoadPercent | MVA | NeutralConn | PercentTotalLoad | PF | Phase | PhaseA_MVA | PhaseB_MVA | PhaseC_MVA | PhaseConnection | StaticLoadPercent | TdP | X | XdP | XOverR | XP | XPP | PdeStatus | BasekV | LoadType | OutServiceYear | PhaseA_Amp | PhaseA_PF | PhaseB_Amp | PhaseB_PF | PhaseC_Amp | PhaseC_PF | Priority | ProfileSector | SingleYearForecastOpt | Ta | UDBasekV | UniformScalePQ | WR | DataStream | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime
1 | Lump1 | 0.722500026 | 0.447765261 | 0 | 0 | 0 | 0 | 0 | Bus2 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 850 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
2 | Lump2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | Bus5 | true | As-Built | 10 | 600 | Conventional | 80 | 100 | 900 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 50 | 6.67000008 | 25 | 16.666666 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50

## capacitor
Index | ID | OpMW | OpMvar | InService | InServiceState | InterDF | Phase | PhaseConnection | PdeStatus | CurrentLowerBand | CurrentSwitchInValue | CurrentSwitchOutValue | CurrentUpperBand | StepsPerBank | TimeDelayType | VoltageCtrlUnit | VoltageLowerBand | VoltageSwitchInValue | VoltageSwitchOutValue | VoltageUpperBand | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## mgset
Index | ID | KV | MVA | X1 | Xdu | Xq | XqP | XqPP | Xqu | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## hvcb
Index | ID | FromElement | ToElement | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | PdeStatus | ReplaceTime | SpareAvail | SwitchTime

## dcbus
Index | ID | InService | InServiceState | MaxLoadFactor | MinLoadFactor | NominalV | PhaseType | WireType | aCoefficient | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength
1 | dcBus1 | false | As-Built | 125 | 80 | 824 | 0 | 1 | 100 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## dcimpedance
Index | ID | FromBus | IID | InService | InServiceState | RValue | LValue | ToBus | PhaseType | WireType | FailureRate | MomentaryRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## dclumpload
Index | ID | DCV | InService | InServiceState | KFactor | KW | MTLoadPercent | Bus | StaticLoadPercent | PhaseType | ProfileSector | SingleYearForecastOpt | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UniformScalePQ
1 | dcLump1 | 973 | false | As-Built | 1000 | 296 | 100 |  | 0 | 0 |  | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## dcconverter
Index | ID | IMaxPercent | InputBus | InputPhaseType | InputTerminalType | InputV | InService | InServiceState | KW | OutputBus | OutputPhaseType | OutputTap | OutputTerminalType | OutputV | PercentEFF | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## dccb
Index | ID | FromBus | ToBus | FailureRate | MTTR | OutageRate | OutageTime | PdeStatus | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## inverter
Index | ID | OpAcKw | OpAcKvar | OpAcKv | OpAcAmp | OpDcKw | DckW | DcPercentEFF | DcPercentIMax | DcPhaseType | DcTerminalType | DcV | DcVMax | DcVMin | diDV | EarthingType | GenerationCategory | BusID | CZNetwork | IkPFMax | IkPFMin | IMin | InService | ParentName | InServiceState | KV | GenCat0ACkW | GenCat0kVar | ACOperationMode | KVA | KVAMax | KvarMax | KWMax | MaxPF | MinPF | MPPTControl | MPPTDCVMax | MPPTDCVMin | MPPTInitialDCV | MPPTNumSteps | MvarLimitsOpt | NegSeqCurrentInjection | NegSeqCurrentLimit | NegSeqDeadbandMin | NegSeqDiDV | PF | Phase | PhaseConnection | PowerFactorOpt | RegulatedVac | SmartInverterOpt | SP3Wire | SpareDF | StaticVarSupportPercentage | VAtIMax | VMaxOp | VMinOp | Vref | VShutOff | PdeStatus | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UserDefPoints
1 | Inv2 | 0 | 0 | 0 | 0 | 0 | 3000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQh6ThUOTapRDAADIQgAAAAAAAAAAAADIQgAAAAAAgDvFAIA7RQAAoEJbdGtD3c6CQwAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAA5QdQQzclZ0MAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAGbGNENy3EhDAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAQthlDS8oqQwAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAASL79Qu/3DEMAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAIWayEKU5N5CAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAJJJRC0ZmkQgAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAJS1BQvCjVkIAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAMW/uUFNY85BAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAA |  |  | 110 | 100 | 100 | true | PVA2 | As-Built | 10 | 267.149353 | 0 | Mvar Control | 2700 | 0 | 0 | 0 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <UserDefPoints><UserDefPQPoints></UserDefPQPoints><UserDefPVPoints></UserDefPVPoints><UserDefQVPoints></UserDefQVPoints></UserDefPoints>
2 | Inv1 | 0 | 0 | 0 | 0 | 0 | 1000 | 90 | 105 | 0 | 1 | 824 | 110 | 0 | 2 | 5 | IP8AAPP/AAAKAAAAAADIQgAAAAAAAAAAAADIQgAAAADzBLW9AAAAgAAAAAAAAAAAAAAAAAAAoEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAyEIAAAAAAAAAAAAAyEIAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAMhCAAAAAAAAAAAAAMhCAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAADIQgAAAAAAAAAAAADIQgAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAAA |  | dcBus1 | 110 | 100 | 100 | false |  | As-Built | 10 | 0 | -0.0883883461 | Voltage Control | 900 | 0 | 0 | 0 | 100 | 80 | 0 | 110 | 40 | 100 | 15 | 0 | 0 | 100 | 10 | 2 | 100 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 40 | 110 | 90 | 100 | 50 | Continuous | 1.254 | 5 | 1 | 8 | 1.254 | 10 | 0 | 2 | <UserDefPoints><UserDefPQPoints></UserDefPQPoints><UserDefPVPoints></UserDefPVPoints><UserDefQVPoints></UserDefQVPoints></UserDefPoints>

## charger
Index | ID | OpMW | OpMvar | DckW | DcLoadkW | DcPercentIMax | DcPhaseType | DcSmoothL | DcSmoothR | DcTapPercentage | DcTerminalType | DcV | DcVeq | DcVFloat | DcVFloatMax | DcVFloatMin | IAtZeroV | IMin | InService | InServiceState | Iop | Issue | KV | KVA | MVA | Bus | CZNetwork | MVASc | OperatingAlfa | PercentDF | PercentEFF | Phase | PhaseConnection | ScContribution | ScK | SP3Wire | SpareDF | SystemR | SystemX | SystemXOverR | UpdateZFromSc | VAtIMax | Xc | XfmrR | XfmrX | PdeStatus | ProfileSector | RectifierMaxV | SCMaxV | SCMfrModelID | SCParameter | SCSpeed | SCStandard | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## battery
Index | ID | BatteryType | DisChargeMethod | Eff | IchargeMax | IdischargeMax | InService | InServiceState | Bus | NrOfCells | NoOfPacks | NrOfStrings | IValue | OperatingSoC | OpGenBusGID | OpGenBusID | OpGenChargeBand | OpGenChargeMW | OpGenDisChargeBand | OpGenDisChargeMW | PhaseType | QValue | Rated | TerminalType | VbatMax | VbatMin | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | ModelID | ModelType