## cable
Index | ID | FromBus | ToBus | CableLengthUnit | InService | InServiceState | LengthValue | OhmsPerLengthUnit | OhmsPerLengthValue | RPosValue | RZeroValue | XPosValue | XZeroValue | YPosValue | YZeroValue
1 | Cable1 | Bus_市南路1号电缆分接箱 | Bus_草河F27 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
2 | Cable2 | Bus_草河村22号高低开关房 | Bus_市南路1号电缆分接箱 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
3 | Cable3 | Bus_沙龙干01杆 | Bus_草河村22号高低开关房 | 2 | true | As-Built | 500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
4 | Cable4 | Bus_沙龙干03塔开关 | Bus_沙龙干01杆 | 2 | true | As-Built | 2000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
5 | Cable5 | Bus_沙龙干03塔开关 | Bus_13塔 | 2 | true | As-Built | 3000 | 2 | 1000 | 0.230000004 | 0.365999997 | 0.0529999994 | 0.135000005 | 0 | 0
6 | Cable6 | Bus_13塔 | Bus_草河村32号欧式箱变 | 2 | true | As-Built | 1200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
7 | Cable7 | Bus_草河村32号欧式箱变 | Bus_草河F7 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
8 | Cable8 | Bus_桥发支01杆 | Bus_沙龙干03塔开关 | 2 | true | As-Built | 750 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
9 | Cable9 | Bus_桥发支19塔开关 | Bus_桥发支01杆 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
10 | Cable10 | Bus_桥发支19塔开关 | Bus_沙龙干20杆开关 | 2 | true | As-Built | 200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
11 | Cable11 | Bus_沙龙干20杆开关 | Bus_沙龙干33塔开关 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
12 | Cable12 | Bus_沙龙干33塔开关 | Bus_35杆 | 2 | true | As-Built | 400 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
13 | Cable13 | Bus_35杆 | Bus_沙龙干44塔开关 | 2 | true | As-Built | 1080 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
14 | Cable14 | Bus_大刀沙支01杆 | Bus_沙龙干20杆开关 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
15 | Cable59 | Bus_大刀沙水厂_中压 | Bus_大刀沙支01杆 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
16 | Cable15 | Bus_10塔 | Bus_大刀沙水厂_中压 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
17 | Cable16 | Bus_11杆 | Bus_10塔 | 2 | true | As-Built | 1600 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
18 | Cable62 | Bus_大刀沙支18杆 | Bus_11杆 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
19 | Cable63 | Bus_大刀沙村5号 | Bus_大刀沙支18杆 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
20 | Cable17 | Bus_大刀沙支28+1杆 | Bus_大刀沙支18杆 | 2 | true | As-Built | 2100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
21 | Cable64 | Bus_大刀沙支30杆 | Bus_大刀沙支28+1杆 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
22 | Cable65 | Bus_大刀沙村2号 | Bus_大刀沙支30杆 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
23 | Cable66 | Bus_大刀沙支42杆 | Bus_大刀沙支30杆 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
24 | Cable67 | Bus_大刀沙村合作经济社 | Bus_大刀沙支42杆 | 2 | true | As-Built | 1080 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
25 | Cable68 | Bus_大刀沙支53杆 | Bus_大刀沙支42杆 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
26 | Cable69 | Bus_大刀沙村1号 | Bus_大刀沙支53杆 | 2 | true | As-Built | 1000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
27 | Cable70 | Bus_大刀沙支64杆 | Bus_大刀沙支53杆 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
28 | Cable61 | Bus_大刀沙村4号 | Bus_大刀沙支64杆 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.0270000007 | 0 | 0
29 | Cable71 | Bus_76杆 | Bus_大刀沙支64杆 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
30 | Cable20 | Bus_大刀沙支77塔 | Bus_76杆 | 2 | true | As-Built | 120 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
31 | Cable21 | Bus_大刀沙支77塔 | Bus_01塔 | 2 | true | As-Built | 2000 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
32 | Cable22 | Bus_01塔 | Bus_观龙大站高低压开关房 | 2 | true | As-Built | 1320 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
33 | Cable23 | Bus_观龙大站高低压开关房 | Bus_观龙大站2号高低压开关房 | 2 | true | As-Built | 1650 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
34 | Cable24 | Bus_观龙大站2号高低压开关房 | Bus_观龙大站支01杆 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
35 | Cable25 | Bus_06杆 | Bus_观龙大站支01杆 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
36 | Cable26 | Bus_观龙大站支01杆 | Bus_03杆 | 2 | true | As-Built | 950 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
37 | Cable27 | Bus_03杆 | Bus_清流观龙18队 | 2 | true | As-Built | 1800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
38 | Cable58 | Bus_观龙大站2号高低压开关房 | Bus_52杆 | 2 | true | As-Built | 2500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
39 | Cable56 | Bus_52杆 | Bus_30杆 | 2 | true | As-Built | 1600 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
40 | Cable55 | Bus_30杆 | Bus_21杆 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
41 | Cable54 | Bus_21杆 | Bus_清流干19杆开关 | 2 | true | As-Built | 1400 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
42 | Cable53 | Bus_清流干19杆开关 | Bus_清流干08塔 | 2 | true | As-Built | 950 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
43 | Cable52 | Bus_清流干08塔 | Bus_南清干45塔与清流干01 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
44 | Cable50 | Bus_南清干45塔与清流干01 | Bus_28杆 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.0900000036 | 0 | 0
45 | Cable43 | Bus_28杆 | Bus_南清干27塔开关 | 2 | true | As-Built | 190 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
46 | Cable42 | Bus_南清干27塔开关 | Bus_26塔 | 2 | true | As-Built | 1100 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
47 | Cable41 | Bus_26塔 | Bus_清流1号电缆分接箱 | 2 | true | As-Built | 1160 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
48 | Cable39 | Bus_清流1号电缆分接箱 | Bus_清流1号支16杆 | 2 | true | As-Built | 450 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
49 | Cable37 | Bus_南清干24杆开关 | Bus_清流1号支16杆 | 2 | true | As-Built | 1405 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
50 | Cable36 | Bus_南清干14杆开关 | Bus_南清干24杆开关 | 2 | true | As-Built | 970 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.0900000036 | 0 | 0
51 | Cable35 | Bus_裕丰13塔 | Bus_南清干14杆开关 | 2 | true | As-Built | 1180 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
52 | Cable34 | Bus_08塔 | Bus_裕丰13塔 | 2 | true | As-Built | 1200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
53 | Cable33 | Bus_南清干04塔开关 | Bus_08塔 | 2 | true | As-Built | 1360 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
54 | Cable32 | Bus_02塔 | Bus_南清干04塔开关 | 2 | true | As-Built | 1400 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
55 | Cable31 | Bus_南清干01杆 | Bus_02塔 | 2 | true | As-Built | 1130 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
56 | Cable30 | Bus_南派1号电缆分接箱 | Bus_南清干01杆 | 2 | true | As-Built | 1360 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
57 | Cable29 | Bus_清河东路电缆分接箱 | Bus_南派1号电缆分接箱 | 2 | true | As-Built | 900 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
58 | Cable28 | Bus_石楼F12 | Bus_清河东路电缆分接箱 | 2 | true | As-Built | 1700 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
59 | Cable38 | Bus_裕丰13塔 | Bus_裕丰F19 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
60 | Cable40 | Bus_清流1号电缆分接箱 | Bus_南清干24杆开关 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
61 | Cable51 | Bus_京毅开关房 | Bus_南清干45塔与清流干01 | 2 | true | As-Built | 1450 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
62 | Cable49 | Bus_信强贸易开关 | Bus_京毅开关房 | 2 | true | As-Built | 1150 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
63 | Cable45 | Bus_清流村经济合作社开关房 | Bus_信强贸易开关 | 2 | true | As-Built | 1350 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
64 | Cable44 | Bus_石楼F22 | Bus_清流村经济合作社开关房 | 2 | true | As-Built | 200 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
65 | Cable46 | Bus_信强贸易开关 | Bus_八糖尾鱼塘支01杆 | 2 | true | As-Built | 1500 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
66 | Cable47 | Bus_八糖尾鱼塘支01杆 | Bus_28塔 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
67 | Cable48 | Bus_28塔 | Bus_八糖鱼45杆 | 2 | true | As-Built | 1600 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
68 | Cable57 | Bus_清流村会堂2号高低压开关 | Bus_30杆 | 2 | true | As-Built | 1300 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
69 | Cable60 | Bus_大刀沙水厂_交流 | Bus_大刀沙水厂_中压 | 2 | true | As-Built | 800 | 2 | 1000 | 0.0599999987 | 0.0599999987 | 0.0900000036 | 0.270000011 | 0 | 0
70 | Cable18 |  |  | 0 | true | As-Built | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0
71 | Cable19 |  |  | 0 | true | As-Built | 0 | 0 | 1000 | 0 | 0 | 0 | 0 | 0 | 0

## xline
Index | ID | ExtRef | FixedLoc | OtiGUID | CloneGuid | UseElementColor | Hidden | MetafileName | Orientation | SymbolSize | SymbolType | ServiceState | InheritedState | FromBus | ToBus | ID | IID | InService | InServiceState | Length | LengthUnit | PerLength | PerLengthUnit | RPos | RZero | XPos | XZero | YPos | YZero

## bus
Index | ID | OpVMag | OpVAng | UserDefinedPDGUID | LocX | LocY | ServiceState | Area | AsymmRMS | BasekV | BusReferenceName | NominalkV | VMag | VMaxLimit | VMinLimit | Zone
1 | Bus_草河F27 | 100 | 0 |  | 98 | 1413 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
2 | Bus_市南路1号电缆分接箱 | 98.8132324 | 0.227846965 |  | 118 | 1413 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
3 | Bus_草河村22号高低开关房 | 97.628067 | 0.461229622 |  | 142 | 1413 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
4 | Bus_沙龙干01杆 | 97.3825684 | 0.395185322 |  | 160 | 1413 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
5 | Bus_沙龙干03塔开关 | 95.441658 | 0.789699137 |  | 178 | 1415 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
6 | Bus_13塔 | 95.1103745 | 0.857434869 |  | 179 | 1436 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
7 | Bus_草河村32号欧式箱变 | 95.1103745 | 0.857434869 |  | 179 | 1450 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
8 | Bus_草河F7 | 95.1103745 | 0.857434869 |  | 179 | 1464 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
9 | Bus_桥发支01杆 | 95.1567841 | 0.712549984 |  | 204 | 1415 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
10 | Bus_桥发支19塔开关 | 94.9384613 | 0.653555751 |  | 222 | 1415 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
11 | Bus_沙龙干20杆开关 | 94.8948059 | 0.641724348 |  | 240 | 1415 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
12 | Bus_沙龙干33塔开关 | 94.850914 | 0.629636228 |  | 241 | 1436 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
13 | Bus_35杆 | 94.8446884 | 0.627920687 |  | 241 | 1452 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
14 | Bus_沙龙干44塔开关 | 94.8446884 | 0.627920687 |  | 241 | 1464 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
15 | Bus_大刀沙支01杆 | 94.7058487 | 0.590493023 |  | 264 | 1415 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
16 | Bus_大刀沙水厂_中压 | 94.4603271 | 0.523585975 |  | 282 | 1419 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
17 | Bus_10塔 | 94.2526703 | 0.466700107 |  | 310 | 1419 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
18 | Bus_11杆 | 94.000885 | 0.397487938 |  | 326 | 1419 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
19 | Bus_大刀沙支18杆 | 93.8969345 | 0.368957996 |  | 342 | 1419 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
20 | Bus_大刀沙村5号 | 93.8969345 | 0.368957996 |  | 344 | 1402 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
21 | Bus_大刀沙支28+1杆 | 93.698555 | 0.314315975 |  | 360 | 1419 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
22 | Bus_大刀沙支30杆 | 93.6041183 | 0.288214564 |  | 372 | 1419 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
23 | Bus_大刀沙村2号 | 93.6041183 | 0.288214564 |  | 363 | 1400 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
24 | Bus_大刀沙支42杆 | 93.4624939 | 0.24896358 |  | 384 | 1417 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
25 | Bus_大刀沙村合作经济社 | 93.4624939 | 0.24896358 |  | 377 | 1402 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
26 | Bus_大刀沙支53杆 | 93.3209229 | 0.209593475 |  | 396 | 1417 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
27 | Bus_大刀沙村1号 | 93.3209229 | 0.209593475 |  | 393 | 1398 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
28 | Bus_大刀沙支64杆 | 93.2171249 | 0.180646062 |  | 408 | 1417 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
29 | Bus_大刀沙村4号 | 93.2171249 | 0.180646062 |  | 407 | 1400 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
30 | Bus_76杆 | 93.141655 | 0.159552887 |  | 420 | 1417 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
31 | Bus_大刀沙支77塔 | 93.1303329 | 0.156385958 |  | 434 | 1419 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
32 | Bus_01塔 | 92.9522781 | 0.106467657 |  | 435 | 1440 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
33 | Bus_观龙大站高低压开关房 | 92.8767166 | 0.0852302015 |  | 435 | 1452 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
34 | Bus_观龙大站2号高低压开关房 | 92.8347244 | 0.0734166726 |  | 407 | 1452 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
35 | Bus_观龙大站支01杆 | 92.8207245 | 0.0694764555 |  | 409 | 1468 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
36 | Bus_06杆 | 92.8207245 | 0.0694764555 |  | 440 | 1469 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
37 | Bus_03杆 | 92.8086319 | 0.0660725832 |  | 386 | 1469 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
38 | Bus_清流观龙18队 | 92.7857208 | 0.059620712 |  | 370 | 1469 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
39 | Bus_52杆 | 88.6270065 | -3.00078726 |  | 287 | 1530 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
40 | Bus_30杆 | 88.6856384 | -2.98350835 |  | 287 | 1540 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
41 | Bus_21杆 | 88.7546005 | -2.96321511 |  | 287 | 1554 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
42 | Bus_清流干19杆开关 | 88.8463058 | -2.93627191 |  | 287 | 1566 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
43 | Bus_清流干08塔 | 88.9085541 | -2.91802073 |  | 287 | 1578 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
44 | Bus_南清干45塔与清流干01 | 89.0170441 | -2.88625503 |  | 288 | 1590 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
45 | Bus_28杆 | 89.1926422 | -2.83506846 |  | 282 | 1607 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
46 | Bus_南清干27塔开关 | 89.2361374 | -2.82241964 |  | 264 | 1607 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
47 | Bus_26塔 | 89.4880524 | -2.74943113 |  | 238 | 1607 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
48 | Bus_清流1号电缆分接箱 | 89.8981171 | -2.63111758 |  | 216 | 1607 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
49 | Bus_清流1号支16杆 | 89.9313126 | -2.62171674 |  | 189 | 1622 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
50 | Bus_南清干24杆开关 | 90.3234024 | -2.50908375 |  | 189 | 1608 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
51 | Bus_南清干14杆开关 | 90.9120789 | -2.34212089 |  | 189 | 1596 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
52 | Bus_裕丰13塔 | 91.7405548 | -2.11048818 |  | 189 | 1584 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
53 | Bus_08塔 | 92.5845718 | -1.87918472 |  | 189 | 1572 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
54 | Bus_南清干04塔开关 | 93.58638 | -1.61009884 |  | 189 | 1560 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
55 | Bus_02塔 | 94.6662369 | -1.32638597 |  | 189 | 1546 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
56 | Bus_南清干01杆 | 95.8019867 | -1.03121614 |  | 189 | 1530 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
57 | Bus_南派1号电缆分接箱 | 97.2163162 | -0.673453689 |  | 189 | 1514 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
58 | Bus_清河东路电缆分接箱 | 98.1689148 | -0.438527256 |  | 189 | 1496 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
59 | Bus_石楼F12 | 100 | 0 |  | 174 | 1479 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
60 | Bus_裕丰F19 | 91.7405548 | -2.11048818 |  | 164 | 1581 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
61 | Bus_京毅开关房 | 88.8154297 | -2.9452703 |  | 306 | 1591 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
62 | Bus_信强贸易开关 | 88.6967392 | -2.98011613 |  | 328 | 1591 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
63 | Bus_清流村经济合作社开关房 | 88.6727676 | -2.98718023 |  | 352 | 1591 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
64 | Bus_石楼F22 | 88.6727676 | -2.98718023 |  | 374 | 1591 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
65 | Bus_八糖尾鱼塘支01杆 | 88.5890656 | -3.01178741 |  | 325 | 1608 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
66 | Bus_28塔 | 88.4957733 | -3.03929806 |  | 325 | 1622 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
67 | Bus_八糖鱼45杆 | 88.4370193 | -3.05665112 |  | 325 | 1636 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
68 | Bus_清流村会堂2号高低压开关 | 88.6668854 | -2.98903632 |  | 324 | 1537 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
69 | Bus_大刀沙水厂_交流 | 94.4603271 | 0.523585975 |  | 281 | 1402 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
70 | Bus1 | 0 | 0 |  | 205 | 81 | 1 | 1 | 0 | 0 | 0 | 0 | 100 | 105 | 90 | 1
71 | Bus_45杆 | 0 | 0 |  | 205 | 77 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1
72 | Bus2 | 0 | 0 |  | 205 | 77 | 1 | 1 | 0 | 0 | 0 | 10 | 100 | 105 | 90 | 1

## xform2w
Index | ID | AnsiMaxMVA | AnsiMVA | AnsiPosXR | AnsiPosZ | AnsiZeroXoverR | AnsiZeroZ | Buried | VectorOrWinding | PrimConnectionButton | SecConnectionButton | PrimNeutralConn | SecNeutralConn | CenterTap | PrimPercentTap | SecPercentTap | PrimMaxPercentFixedTap | PrimMinPercentFixedTap | SecMaxPercentFixedTap | SecMinPercentFixedTap | PhaseShiftHL | PhaseShiftPS | PhaseShiftType | FromBus | ToBus | InService | InServiceState | PrimkV | SeckV | ZBaseMVA

## xform3w
Index | ID | InService | InServiceState | PrimaryBus | SecondaryBus | TeritiaryBus | PrimkV | SeckV | TerkV | PrimPercentTap | SecPercentTap | TerPercentTap | PrimkVA | SeckVA | TerkVA | PSPosZ | PSPosXoverR | PTPosZ | PTPosXoverR | STPosZ | STZeroXoverR

## util
Index | ID | OpVAng | OpVMag | OpMW | OpMvar | VoltagePercent0 | VoltagePercent1 | VoltagePercent2 | VoltagePercent3 | VoltagePercent4 | VoltagePercent5 | VoltagePercent6 | VoltagePercent7 | VoltagePercent8 | VoltagePercent9 | BalancedRadio | Bus | EarthingType | GroundingConnection | InService | InServiceState | kAsc1p | kAsc3p | KV | MaxQ | MinQ | Mvar | MW | NegR | NegX | OnePhase | OnePhaseXoverR | Phase | PhaseType | PosR | PosX | ThreePhase | ThreePhaseXoverR | TypeOfUtility | VoltageAngle | VoltageMagnitude | ZeroR | ZeroX | PdeStatus
1 | U2 | 0 | 100 | 8932.09473 | 6031.94238 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | Bus_石楼F12 | 0 | 0 | true | As-Built | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | Swing
2 | U1 | 0 | 100 | 4529.06104 | 2752.12061 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 100 | 0 | Bus_草河F27 | 0 | 0 | true | As-Built | 0 | 0 | 10 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 0 | 0 | 100 | 0 | 0 | Swing

## syngen
Index | ID | Bus | CalcFromCapability | CompoundExc | CouplerRpm | CouplerWR2 | Damping | Efficency | Eqp | ExcWithstandLimit | ExcWithstandTime | GenerationCategory | GostScExciterType | IecExcitationType | Ikp | IncludePFMvarController | Inertia | InService | InServiceState | KV | LoadRpm | LoadWR2 | MachineType | MachineWR2 | MVA | MW | PG | PlotI2t | PlotShortTime | Poles | PowerFactor | PrimConnectionButton | PrimEarthingType | PrimGroundingType | PrimNeutralConn | RadioButtons | RatedLifeTime | RdcPercent | ReactivePower | RealPower | RPM | S100 | S120 | Sbreak | ScExciterType | ScGenType | TDoublePrimeD0 | TDoublePrimeQ0 | TPrimeD0 | TPrimeQ0 | TypeOfGenerator | VoltageAngle | VoltageMagnitude | X0 | X1 | X2 | Xd | XdDoublePrime | XdPrime | XOverR | XOverR0 | XOverR2 | Xq | XqDoublePrime | XqPrime | XTolerance | PdeStatus

## pvarray
Index | ID | Bus | BVmpp | BVmppTemp | BVoc | BVocTemp | DCGrounded | DCGroundR | DeltaIrradiance | EarthingType | ExternalL | ExternalR | GenerationCategory | Impp | ImpUD | InService | InServiceState | InverterIncluded | Isc | IscUD | Issue | LibModified | MppTracker | NOCTemp | NumPanelParallel | NumPanelSeries | PhaseType | PVAPower | PVAPowerTol | RevCtrl | Revision | SCModel | ValidEquipmentCable | Vmpp | VmpUD | Voc | VocUD | OutServiceYear | ProfileSector | PVAMFR | PVAModel | PVANumCells | PVASize | PVAType | PVAVDC | SingleYearForecastOpt | UniformScalePQ | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## lumpedload
Index | ID | OpMW | OpMvar | OpMWStLd | OpMvarStLd | GroundingAmp | GroundingOhm | GroundingType | Bus | InService | InServiceState | KV | LRC | ModelType | MotorLoadPercent | MTLoadPercent | MVA | NeutralConn | PercentTotalLoad | PF | Phase | PhaseA_MVA | PhaseB_MVA | PhaseC_MVA | PhaseConnection | StaticLoadPercent | TdP | X | XdP | XOverR | XP | XPP | PdeStatus | BasekV | LoadType | OutServiceYear | PhaseA_Amp | PhaseA_PF | PhaseB_Amp | PhaseB_PF | PhaseC_Amp | PhaseC_PF | Priority | ProfileSector | SingleYearForecastOpt | Ta | UDBasekV | UniformScalePQ | WR | DataStream | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime
1 | Lump3 | 0.399500012 | 0.247587845 | 0 | 0 | 0 | 0 | 0 | Bus_13塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 470 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
2 | Lump6 | 0.127499998 | 0.0790174007 | 0 | 0 | 0 | 0 | 0 | Bus_35杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 150 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
3 | Lump5 | 0.112199999 | 0.069535315 | 0 | 0 | 0 | 0 | 0 | Bus_沙龙干33塔开关 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 132 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
4 | Lump14 | 0.101999998 | 0.0632139221 | 0 | 0 | 0 | 0 | 0 | Bus_清流观龙18队 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 120 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
5 | Lump34 | 0.136000007 | 0.0842852294 | 0 | 0 | 0 | 0 | 0 | Bus_清河东路电缆分接箱 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 160 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
6 | Lump33 | 0.136000007 | 0.0842852294 | 0 | 0 | 0 | 0 | 0 | Bus_南派1号电缆分接箱 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 160 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
7 | Lump32 | 0.267749995 | 0.165936574 | 0 | 0 | 0 | 0 | 0 | Bus_南清干01杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 315 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
8 | Lump31 | 1.89549994 | 1.17472529 | 0 | 0 | 0 | 0 | 0 | Bus_02塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 2230 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 10 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
9 | Lump30 | 0.267749995 | 0.165936574 | 0 | 0 | 0 | 0 | 0 | Bus_南清干04塔开关 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 315 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
10 | Lump29 | 0.254999995 | 0.158034801 | 0 | 0 | 0 | 0 | 0 | Bus_08塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
11 | Lump28 | 0.739499986 | 0.458300948 | 0 | 0 | 0 | 0 | 0 | Bus_南清干14杆开关 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 870 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
12 | Lump27 | 1.59375 | 0.987717509 | 0 | 0 | 0 | 0 | 0 | Bus_清流1号支16杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 1875 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 10 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
13 | Lump26 | 0.365500003 | 0.22651656 | 0 | 0 | 0 | 0 | 0 | Bus_清流1号电缆分接箱 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 430 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
14 | Lump25 | 0.960500002 | 0.595264494 | 0 | 0 | 0 | 0 | 0 | Bus_26塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 1130 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
15 | Lump24 | 0.0722500011 | 0.0447765291 | 0 | 0 | 0 | 0 | 0 | Bus_28杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 85 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
16 | Lump21 | 0.136000007 | 0.0842852294 | 0 | 0 | 0 | 0 | 0 | Bus_清流村经济合作社开关房 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 160 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
17 | Lump23 | 0.280499995 | 0.173838288 | 0 | 0 | 0 | 0 | 0 | Bus_八糖鱼45杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 330 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
18 | Lump22 | 0.267749995 | 0.165936574 | 0 | 0 | 0 | 0 | 0 | Bus_28塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 315 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
19 | Lump20 | 0.104550004 | 0.0647942722 | 0 | 0 | 0 | 0 | 0 | Bus_信强贸易开关 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 123 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
20 | Lump19 | 0.274550021 | 0.170150802 | 0 | 0 | 0 | 0 | 0 | Bus_京毅开关房 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 323 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
21 | Lump18 | 0.113899998 | 0.0705888793 | 0 | 0 | 0 | 0 | 0 | Bus_清流干08塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 134 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
22 | Lump17 | 0.1105 | 0.0684817508 | 0 | 0 | 0 | 0 | 0 | Bus_21杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 130 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
23 | Lump15 | 0.1105 | 0.0684817508 | 0 | 0 | 0 | 0 | 0 | Bus_清流村会堂2号高低压开关 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 130 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
24 | Lump16 | 0.280499995 | 0.173838288 | 0 | 0 | 0 | 0 | 0 | Bus_52杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 330 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
25 | Lump13 | 0.101999998 | 0.0632139221 | 0 | 0 | 0 | 0 | 0 | Bus_观龙大站2号高低压开关房 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 120 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
26 | Lump12 | 0.254999995 | 0.158034801 | 0 | 0 | 0 | 0 | 0 | Bus_观龙大站高低压开关房 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
27 | Lump11 | 0.254999995 | 0.158034801 | 0 | 0 | 0 | 0 | 0 | Bus_01塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
28 | Lump10 | 0.0425000004 | 0.0263391342 | 0 | 0 | 0 | 0 | 0 | Bus_大刀沙支77塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 50 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
29 | Lump8 | 0.50999999 | 0.316069603 | 0 | 0 | 0 | 0 | 0 | Bus_11杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 600 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
30 | Lump7 | 0.254999995 | 0.158034801 | 0 | 0 | 0 | 0 | 0 | Bus_10塔 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
31 | Lump4 | 1.32599998 | 0.82178098 | 0 | 0 | 0 | 0 | 0 | Bus_桥发支01杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 1560 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 10 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
32 | Lump2 | 0.53549999 | 0.331873149 | 0 | 0 | 0 | 0 | 0 | Bus_沙龙干01杆 | true | As-Built | 10 | 650 | Conventional | 80 | 100 | 630 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
33 | Lump1 | 0.254999995 | 0.158034801 | 0 | 0 | 0 | 0 | 0 | Bus_草河村22号高低开关房 | true | As-Built | 10 | 600 | Conventional | 80 | 100 | 300 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 50 | 6.67000008 | 25 | 16.666666 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50
34 | Lump9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | true | As-Built | 10 | 650 | Conventional | 80 | 80 | 0 | 0 | 0 | 85 | 0 | 0 | 0 | 0 | 0 | 20 | 0.200000003 | 150 | 23.0769234 | 6.67000008 | 23.0769234 | 15.3846149 | Continuous | 0 | 0 | 2045/1/1 | 0 | 0 | 0 | 0 | 0 | 0 | 3 |  | 0 | 0 | 0 | 1 | 0 | EP8AAAIAAAD//v8A//7/AP/+/wD//v8A//7/AAAAAAAAAAAA | 0 | 50 | 1 | 0.150000006 | 50 | 0.019999999552965199 | 10 | 0 | 50

## capacitor
Index | ID | OpMW | OpMvar | InService | InServiceState | InterDF | Phase | PhaseConnection | PdeStatus | CurrentLowerBand | CurrentSwitchInValue | CurrentSwitchOutValue | CurrentUpperBand | StepsPerBank | TimeDelayType | VoltageCtrlUnit | VoltageLowerBand | VoltageSwitchInValue | VoltageSwitchOutValue | VoltageUpperBand | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## mgset
Index | ID | KV | MVA | X1 | Xdu | Xq | XqP | XqPP | Xqu | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## hvcb
Index | ID | FromElement | ToElement | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | PdeStatus | ReplaceTime | SpareAvail | SwitchTime

## dcbus
Index | ID | InService | InServiceState | MaxLoadFactor | MinLoadFactor | NominalV | PhaseType | WireType | aCoefficient | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## dcimpedance
Index | ID | FromBus | IID | InService | InServiceState | RValue | LValue | ToBus | PhaseType | WireType | FailureRate | MomentaryRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UnitLength

## dclumpload
Index | ID | DCV | InService | InServiceState | KFactor | KW | MTLoadPercent | Bus | StaticLoadPercent | PhaseType | ProfileSector | SingleYearForecastOpt | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UniformScalePQ

## dcconverter
Index | ID | IMaxPercent | InputBus | InputPhaseType | InputTerminalType | InputV | InService | InServiceState | KW | OutputBus | OutputPhaseType | OutputTap | OutputTerminalType | OutputV | PercentEFF | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## dccb
Index | ID | FromBus | ToBus | FailureRate | MTTR | OutageRate | OutageTime | PdeStatus | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## inverter
Index | ID | OpAcKw | OpAcKvar | OpAcKv | OpAcAmp | OpDcKw | DckW | DcPercentEFF | DcPercentIMax | DcPhaseType | DcTerminalType | DcV | DcVMax | DcVMin | diDV | EarthingType | GenerationCategory | BusID | CZNetwork | IkPFMax | IkPFMin | IMin | InService | InServiceState | KV | GenCat0ACkW | GenCat0kVar | KVA | KVAMax | KvarMax | KWMax | MaxPF | MinPF | MPPTControl | MPPTDCVMax | MPPTDCVMin | MPPTInitialDCV | MPPTNumSteps | MvarLimitsOpt | NegSeqCurrentInjection | NegSeqCurrentLimit | NegSeqDeadbandMin | NegSeqDiDV | PF | Phase | PhaseConnection | PowerFactorOpt | RegulatedVac | SmartInverterOpt | SP3Wire | SpareDF | StaticVarSupportPercentage | VAtIMax | VMaxOp | VMinOp | Vref | VShutOff | PdeStatus | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | UserDefPoints

## charger
Index | ID | OpMW | OpMvar | DckW | DcLoadkW | DcPercentIMax | DcPhaseType | DcSmoothL | DcSmoothR | DcTapPercentage | DcTerminalType | DcV | DcVeq | DcVFloat | DcVFloatMax | DcVFloatMin | IAtZeroV | IMin | InService | InServiceState | Iop | Issue | KV | KVA | MVA | Bus | CZNetwork | MVASc | OperatingAlfa | PercentDF | PercentEFF | Phase | PhaseConnection | ScContribution | ScK | SP3Wire | SpareDF | SystemR | SystemX | SystemXOverR | UpdateZFromSc | VAtIMax | Xc | XfmrR | XfmrX | PdeStatus | ProfileSector | RectifierMaxV | SCMaxV | SCMfrModelID | SCParameter | SCSpeed | SCStandard | FailureRate | MTTR | NoOfLoads | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime

## battery
Index | ID | BatteryType | DisChargeMethod | Eff | IchargeMax | IdischargeMax | InService | InServiceState | Bus | NrOfCells | NoOfPacks | NrOfStrings | IValue | OperatingSoC | OpGenBusGID | OpGenBusID | OpGenChargeBand | OpGenChargeMW | OpGenDisChargeBand | OpGenDisChargeMW | PhaseType | QValue | Rated | TerminalType | VbatMax | VbatMin | FailureRate | MTTR | OutageRate | OutageTime | PermFailureRate | ReplaceTime | SpareAvail | SwitchTime | ModelID | ModelType